## Questionnaire
Yes
|  | PACIFIC POWER ASSOCIATION | [7 empty] | No
PACIFIC POWER UTILITY BENCHMARKING STUDY
|  | QUESTIONNAIRE SECTION 2: BENCHMARKING INFORMATION | [7 empty] | L
kL
|  | 2014 Version: 29 April 2014 | [7 empty] | ML
km
miles
| Instructions: | [8 empty] | self regulated
| 1. Please see the attached Word document file "PPA Benchmarking 2012 - Intro and Section 1" for the Background, Introduction and Section 1 of the Questionnaire. | [8 empty] | externally regulated
2. The attached word document "Explanations of Input Data 1" provides explanation of each input, with practical examples and sample calculations.
| 3. Section 2 (Excel spreadsheet) needs to be completed for the 2012 Benchmarking Exercise; QUESTIONNAIRE sheet and DATA RELIABILITY sheet. Section 1 (Word Doc) must also be completed, including Tariff Schedules. All submissions to be in Excel/Word not PDF, (except for Tariff Schedule which may be in PDF) | [8 empty] | kg
| 4. Please enter the data or information requested in the yellow boxes indicated, with comments in the yellow Comment column. | [8 empty] | tonnes (metric tons)
5. The bright yellow cells provide a selection box for you to select your response
6. Reference unit conversion charts are provided on the Sheet "Reference Unit Conversion"
| 7. Where appropriate, please mark as follows: n.av. = not available; N/Ap = not applicable | [8 empty] | AUD
| 8. All information requested (employment,costs,revenue, etc.) refers only to electricity operations. Do not include information for other services the utility may provide such as water, waste management, telecoms, fuel supply etc. | [8 empty] | FJD
| 9. Key performance Indicators will be automatically calculated on the 'Indicators' tab (provided all data has been entered correctly). This is for your information only. | [8 empty] | NZD
| 10. Before returning the completed questionnaire, please change the filename to indicate the utility, e.g. TAU, FEA, PNG Power, etc. | [8 empty] | PGK
| 11. This spreadhseet is designed to be printed on A3 size | [8 empty] | SBD
TOP
| SECTION 2: Introductory Questions | [8 empty] | USD
VUV
| Information on person providing the information: | THIS INTRODUCTORY SECTION MUST BE FILLED OUT (In addition to filling out Section 1) | [7 empty] | WST
XPF
| Completed by Benchmarking Liaison Officer (name): | Gerardo B. Protacio | [7 empty] | Other
| Position / Title: | Electrical Engineer
| Endorsed by CEO (name): | Fred N. Skilling
| Country or territory: | Kosrae State, Federated States of Micronesia
| Name of utility: | Kosrae Utilities Authority
| Postal address: | P.O. Box KUA, Tofol, Kosrae, FSM 96944
| E-mail address: | kua@mail.fm
| Back up e-mail address: | kuaengr@mail.fm
| Telephone number: | 691 3703799/3703344
Skype address (if any):
Benchmarking Period:
| Start Date for Benchmarking Data Collection Period (Benchmarking Period) |  | 2016-10-01
| End Date for Benchmarking Data Collection Period (Benchmarking Period) |  | 2017-09-30
Date questionnaire completed
2016-07-01
2016-10-01
| Currency Used by Utility to Report Costs: |  | USD | All costs are to be provided in this currency | [5 empty] | 2017-01-01
2017-06-30
2017-09-30
2017-12-31
Ref | Input Name | Units | Explanation | System Data |  |  |  |  | Comments
| Generation |  |  | Generation information is to be provided for the ENTIRE UTILITY SYSTEM
|  |  |  | Main Grid 1 | Grid 2 | Grid 3 | Others
1 | Name of the Grid |  | Brief name or description of each grid
2 | Total Utility Generation | MWh | Total utility generation for each grid | 5595 |  |  |  | MWh
3 | Total IPP Generation Purchased | MWh | Purchases from IPPs for each grid |  |  |  |  | MWh
4 | Maximum Demand / Peak Generation | MW | Maximum demand for each grid | 1.2 |  |  |  | MW
5 | Minimum Demand Generation | MW | Minimum demand for the each grid | 0.45 |  |  |  | MW
6 | Guaranteed/Contracted IPP Generation Capacity | MW | The capacity guaranteed by an IPP under contract |  |  |  |  | MW
7 | Generator 1 Nameplate Capacity Rating | MW | The capacity for the generator as stated by the nameplate | 1.2 |  |  |  | MW | Derated from 1.5 MW nameplate
7 | Generator 2 Nameplate Capacity Rating | MW | The capacity for the generator as stated by the nameplate | 1.015 |  |  |  | MW
7 | Generator 3 Nameplate Capacity Rating | MW | The capacity for the generator as stated by the nameplate | 0.4 |  |  |  | MW | Derated from 0.75 MW nameplate
7 | Generator 4 Nameplate Capacity Rating | MW | The capacity for the generator as stated by the nameplate |  |  |  |  | MW
7 | Generator 5 Nameplate Capacity Rating | MW | The capacity for the generator as stated by the nameplate |  |  |  |  | MW
7 | Generator 6 Nameplate Capacity Rating | MW | The capacity for the generator as stated by the nameplate |  |  |  |  | MW
7 | Generator 7 Nameplate Capacity Rating | MW | The capacity for the generator as stated by the nameplate |  |  |  |  | MW
7 | Generator 8 Nameplate Capacity Rating | MW | The capacity for the generator as stated by the nameplate |  |  |  |  | MW
7 | Generator 9 Nameplate Capacity Rating | MW | The capacity for the generator as stated by the nameplate |  |  |  |  | MW
7 | Generator 10 Nameplate Capacity Rating | MW | The capacity for the generator as stated by the nameplate |  |  |  |  | MW
7 | Generator 11 Nameplate Capacity Rating | MW | The capacity for the generator as stated by the nameplate |  |  |  |  | MW
7 | Generator 12 Nameplate Capacity Rating | MW | The capacity for the generator as stated by the nameplate |  |  |  |  | MW
7 | Generator 13 Nameplate Capacity Rating | MW | The capacity for the generator as stated by the nameplate |  |  |  |  | MW
7 | Generator 14 Nameplate Capacity Rating | MW | The capacity for the generator as stated by the nameplate |  |  |  |  | MW
7 | Generator 15 Nameplate Capacity Rating | MW | The capacity for the generator as stated by the nameplate |  |  |  |  | MW
7 | Generator 16 Nameplate Capacity Rating | MW | The capacity for the generator as stated by the nameplate |  |  |  |  | MW
7 | Generator 17 Nameplate Capacity Rating | MW | The capacity for the generator as stated by the nameplate |  |  |  |  | MW
7 | Generator 18 Nameplate Capacity Rating | MW | The capacity for the generator as stated by the nameplate |  |  |  |  | MW
7 | Generator 19 Nameplate Capacity Rating | MW | The capacity for the generator as stated by the nameplate |  |  |  |  | MW
7 | Generator 20 Nameplate Capacity Rating | MW | The capacity for the generator as stated by the nameplate |  |  |  |  | MW
7 | Generator 21 Nameplate Capacity Rating | MW | The capacity for the generator as stated by the nameplate |  |  |  |  | MW
7 | Generator 22 Nameplate Capacity Rating | MW | The capacity for the generator as stated by the nameplate |  |  |  |  | MW
7 | Generator 23 Nameplate Capacity Rating | MW | The capacity for the generator as stated by the nameplate |  |  |  |  | MW
7 | Generator 24 Nameplate Capacity Rating | MW | The capacity for the generator as stated by the nameplate |  |  |  |  | MW
7 | Generator 25 Nameplate Capacity Rating | MW | The capacity for the generator as stated by the nameplate |  |  |  |  | MW
8 | Generation by Source (MWh) | MWh | Use the total for Utility and IPP generation, for each grid
8a | Distillate (ADO or IDO) | MWh | Total Utility generation from distillate per grid | 5207.0505 |  |  |  | MWh
8b | Heavy fuel oil (HFO or IFO) | MWh | Total Utility generation from heavy fuel oil per grid |  |  |  |  | MWh
8c | Biofuels | MWh | Total Utility generation from biofuel per grid |  |  |  |  | MWh
8d | Mixed Fuel | MWh | Total Utility generation from mixed fuel (eg coconut oil and diesel) for each grid. Provide details of mixture, fuels used and % of each in Comments column. |  |  |  |  | MWh
8e | LNG | MWh | Total Utility generation from liquid natural gas for each grid |  |  |  |  | MWh
8f | Hydropower | MWh | Total Utility generation from hydro resources for each grid |  |  |  |  | MWh
8g | Wind energy | MWh | Total Utility generation from wind energy for each grid |  |  |  |  | MWh
8h | Solar Photovoltaics | MWh | Total Utility generation from solar PV for each grid | 388.6202 |  |  |  | MWh
8i | Biomass | MWh | Total Utility generation from wood or other biomass for each grid |  |  |  |  | MWh
8j | Geothermal | MWh | Total Utility generation from geothermal for each grid |  |  |  |  | MWh
8k | Other Renewable | MWh | Any other sources of renewable energy generation on each grid. Please specify in Comments column. |  |  |  |  | MWh
9 | Fuel Usage | L / kL / ML | [5 empty] | Select Units
9a | Distillate (ADO or IDO) | L / kL / ML | Total Distillate usage per year per grid. Select the units used (L/kL/ML) | 1699196 |  |  |  | L
9b | Heavy fuel oil (HFO or IFO) | L / kL / ML | Total HFO/IDO usage per year per grid. Select the units used (L/kL/ML) |  |  |  |  | L
9c | Biofuels | L / kL / ML | Total Biofuel usage per year per grid. Select the units used (L/kL/ML) |  |  |  |  | L
9d | Mixed fuel | L / kL / ML | Total Mixed Fuel usage per year per grid. Select the units used (L/kL/ML). Indicate details of mixture in Comments column |  |  |  |  | L
9e | LNG | L / kL / ML | Total LNG Usage per year per grid. Select the units used (L/kL/ML) |  |  |  |  | L
9.1 | Fuel Usage (weight where available) | kg / tonne | [5 empty] | Select Units
9.1a | Distillate (ADO or IDO) | kg / tonne | Total Distillate usage per year per grid. Select the units used (ton) |  |  |  |  | kg
9.1b | Heavy fuel oil (HFO or IFO) | kg / tonne | Total HFO/IDO usage per year per grid. Select the units used (kgs or tonnes (metric tons)) |  |  |  |  | kg
9.1c | Biofuels | kg / tonne | Total Biofuel usage per year per grid. Select the units used (kgs or tonnes (metric tons)) |  |  |  |  | kg
9.1d | Mixed fuel | kg / tonne | Total Mixed Fuel usage per year per grid. Select the units used (kgs or tonnes (metric tons)). Indicate details of mixture in Comments column |  |  |  |  | kg
9.1e | LNG | kg / tonne | Total LNG Usage per year per grid. Select the units used (kgs or tonnes (metric tons)) |  |  |  |  | kg
Ref | Input Name | Units | Explanation | [5 empty] | Comments
Select Units
10 | Total Lubricants Used in Generation | L / kL / ML | Total lubricants used in generation from ADO/IDO, HFO/IFO, Biofuels, Fuel Mixtures, LNG. Select the units used (L/kL/ML) | 5382.27 |  |  |  | L
11 | Utility Capacity Hours Out of Service Due to Generation Forced Outage Events | MWh | Sum of (Utility Generation Forced Outage Duration multiplied by Capacity Rating) | 14.38 |  |  |  | MWh
12 | Utility Capacity Hours Out of Service Due to Generation Planned Outage Events | MWh | Sum of (Utility Generation Planned Outage Duration multiplied by Capacity Rating) |  |  |  |  | MWh
13 | Utility Capacity Hours Out of Service Due to Generation De-rated Events | MWh | Sum of (Utility Generation De-rated Outage Duration multiplied by Capacity Rating) |  |  |  |  | MWh
14 | IPP Capacity Hours Out of Service Due to Generation Forced Outage Events | MWh | Sum of (IPP Generation Forced Outage Duration multiplied by Capacity Rating) |  |  |  |  | MWh
15 | IPP Capacity Hours Out of Service Due to Generation Planned Outage Events | MWh | Sum of (IPP Generation Planned Outage Duration multiplied by Capacity Rating) |  |  |  |  | MWh
16 | IPP Capacity Hours Out of Service Due to Generation De-rated Events | MWh | Sum of (IPP Generation De-rated Outage Duration multiplied by Capacity Rating) |  |  |  |  | MWh
* | Note: Generation SAIDI data is receorded under the Distribution Section below.
17 | Power Station Usage / Station Auxiliaries | MWh | Total energy used in the power stations operated by the utility | 62 |  |  |  | MWh
18 | Enabling Framework for Private Sector Participation IPP/ PPA Arrangement? | Y/N | Enabling framework includes procedures, processes etc. Provide details in Comments column. | No
| Transmission |  |  | Transmission information is to be provided for the MAIN GRID ONLY
Transmission refers only to network of above 34.5kV
NOTE: Calculation of SAIDI contribution requires tabulation and summation of individual fault contributions, ie SUM (# of customers x duration of fault (mins)). Please refer BM manual and attach methodology/assumptions (if any).
19 | Does your system have a transmission network? | Y/N | Applies only to Fiji, Guam, PNG and Tahiti. Other utilities answer "No" and proceed to 'Distribution'. | No
20 | Number of Unplanned Transmission Outage Events | events | Number of times in the period when a transmission system fault resulted in an unplanned outage (affecting customers) |  | events
20.1 | Number of Planned Transmission Outage Events | events | Number of times in the period when a planned transmission system outage affected customers |  | events
20.2 | Total Number of Customer Interruptions for Unplanned TRANSMISSION Outages | customers | Sum of customers affected for each Unplanned Transmission outage. |  | customers affected
20.3 | Total Number of Customer Interruptions for Planned TRANSMISSION Outages | customers | Sum of customers affected for each Planned Transmission outage. |  | customers affected
21 | Total Unplanned Transmission Related Interruption Contribution (SAIDI - transmission) | cust-mins | Sum of (Customers Interrupted x Duration of Interruption) for Unplanned Transmission outages |  | cust-mins
21.1 | Total Planned Transmission Related Interruption Contribution (SAIDI - transmission) | cust-mins | Sum of (Customers Interrupted x Duration of Interruption) for Planned Transmission Outages |  | cust-mins
22 | Length of Transmission Line | km / miles | Total length of all transmission lines and cables in each network |  | km / miles
23 | Electricity delivered to distribution system | MWh | Total electricity delivered to the distribution system in MWh |  | MWh
| Distribution and Customer Outages |  |  | Distribution information is to be provided for the MAIN GRID ONLY
Distribution refers only to power sent through the grid at or below 34.5 kV
All utilities should complete this section.
NOTE: Calculation of SAIDI contribution requires tabulation and summation of individual fault contributions, ie SUM (# of customers x duration of fault (mins)). SAIFI calc requires summation of total customers affected for each outage for the reporting year. Please refer BM manual and attach methodology/assumptions (if any).
24 | Number of DISTRIBUTION Forced (Unplanned) Outage Events | events | The total number of outages due to faults in the distribution network | 29 | events
24.1 | Number of DISTRIBUTION Planned Outage Events | events | The total number of outages planned in the distribution network (that affected customers) | 1 | events
24.2 | Number of GENERATION Forced (Unplanned) Outage Events | events | The total number of outages due to generation faults (that affected customers) | 12 | events
24.3 | Number of GENERATION Planned Outage Events | events | The total number of generation outages planned (that affected customers) |  | events
25 | Length of Distribution Line | km / miles | The total length of all distribution lines and cables in the distribution network | 45 | miles
26 | Total Distribution Transformer Capacity | MVA | The sum of all distribution transformer capacity on the network | 7.27 | MVA
27 | Total Unplanned GENERATION Related Interruption Contribution (SAIDI - generation) | cust-mins | Generation Unplanned Outages: Sum of (Custom Interruption x Duration of Interruption) | 1586389 | cust-mins
27.1 | Total Planned GENERATION Related Interruption Contribution (SAIDI - generation) | cust-mins | Generation Planned: Sum of (Custom Interruption x Duration of Interruption) |  | cust-mins
27.2 | Total Number of Customer Interruptions for Unplanned GENERATION Outages | customers | Sum of customers affected for each Unplanned Transmission outage. | 1423 | customers affected |  |  |  | NEW Qs
27.3 | Total Number of Customer Interruptions for Planned GENERATION Outages | customers | Sum of customers affected for each Planned Transmission outage. |  | customers affected |  |  |  | NEW Qs
28 | Total Unplanned DISTRIBUTION Related Interruption Contribution (SAIDI - distribution) | cust-mins | Distribution Unplanned: Sum of (Custom Interruption x Duration of Interruption) | 770581 | cust-mins
28.1 | Total Planned DISTRIBUTION Related Interruption Contribution (SAIDI - distribution) | cust-mins | Distribution Planned: Sum of (Custom Interruption x Duration of Interruption) | 124250 | cust-mins
28.2 | Total Number of Customer Interruptions for Unplanned DISTRIBUTION Outages | customers | Sum of customers affected for each Unplanned Distribution outage. | 44093 | customers affected |  |  |  | NEW Qs
28.3 | Total Number of Customer Interruptions for Planned DISTRIBUTION Outages | customers | Sum of customers affected for each Planned DIstribution outage. | 994 | customers affected |  |  |  | NEW Qs
Ref | Input Name | Units | Explanation | System Data |  |  |  |  | Comments
| Demand Side Management |  |  | Demand Side Management information is to be provided for the ENTIRE UTILITY SYSTEM
29 | Does the utility actively engaged in any demand side management initiatives? | Y/N | This includes initiatives acorss all grid. Select Yes/No for this question and for the following activities. If other activities that are not specified, please specify below in 'Others'. Please attach descriptive information on scope and development of DSM activities. | Yes
30a | Replacing incandescent lighting with compact fluorescent lighting | Y/N |  | Yes
29a | Installing sensors on lighting or other | Y/N |  | Yes
29b | Replacing old inefficient air conditioners with high-efficiency units | Y/N |  | Y/N
29c | Performance testing of appliances and equipment | Y/N |  | Y/N
29d | Replacing old refrigerators and freezers with new, high-efficiency units | Y/N |  | Y/N
29e | Have varying rates for peak and off peak electricity usage | Y/N |  | Y/N
29f | Educational program to consumers | Y/N |  | Y/N
29g | Other 1 (please specify) | Y/N | Any other DSM initiavites. Please specify. | Y/N | Other 1 - Specify here:
29h | Other 2 (please specify) | Y/N | Any other DSM initiavites. Please specify. | Y/N | Other 2- Specify here:
29i | Other 3 (please specify) | Y/N | Any other DSM initiavites. Please specify. | Y/N | Other 3 - Specify here:
29j | Other 4 (please specify) | Y/N | Any other DSM initiavites. Please specify. | Y/N | Other 4 - Specify here:
29k | Other 5 (please specify) | Y/N | Any other DSM initiavites. Please specify. | Y/N | Other 5 - Specify here:
30 | What is the budget for DSM? | USD | Specify DSM budget for reporting period. If no DSM budget, type “0” | 0 | USD
31 | How many employees are engaged in DSM? | employees | Provide total number of employees. Provide details in the comments column | 0 | employees
32 | Has there been recorded savings by consumers? How much? | MWh (total) | Select “Yes” or “No”. If “Yes”, indicate how much in the local currency | 0 | MWh (total)
33 | What power Quality Standard applies, if any? |  | Provide name of the standard. If none applies, type “None”. | KUA
| Human Resources / Safety |  |  | Human Resource / Safety information is to be combined for the ENTIRE UTILITY SYSTEM
34 | Total Days Lost Due to Work Injury During Period (excludes contractors) | days | The sum of work days/shifts an employee is unable to report to work due to injury sustained at work. Excludes contractors. | 0 | days
35 | Number of Lost Time Injuries During Period (excludes contractors) | LTIs | Total employee LTIs. Contractor injuries are not counted towards LTIs. | 0 | LTIs
36 | Total Number of Employees (excludes contractors) | employees | The total number of employees. This factor excludes contractors | 30 | employees
37 | Total number of employees in Distribution & Customer Service at Start of Period | employees | Total number of employees in Distribution & Customer Service at Start of Period | 2016-10-01 | 16 | employees
38 | Total number of employees in Distribution & Customer Service at End of Period | employees | Total number of employees in Distribution & Customer Service at End of Period | 2017-09-30 | 16 | employees
39 | Total Hours Worked (excludes contractors) | hrs | The total hours worked by employees | 60410 | hrs
40 | Paid Hours Utility Generation Labour | hrs | Total paid hours for generation labour, taking into account overtime rates | 13632 |  |  |  | hrs
41 | Paid Hours Utility Distribution Labour | hrs | Total paid hours labour to maintain and operate the utility's distribution network. | 24745 | hrs
42 | Total Paid Hours Employees Including Contractors | hrs | The total paid hours for employee labour. This takes overtime (double timeetc) into account | 60410 | hrs
| Customers / General |  |  | Customer information is to be combined for the ENTIRE UTILITY SYSTEM, except for Electricity Sold which is per grid and Number of Customers which is specified
|  |  |  | Main Grid 1 | Grid 2 | Grid 3 | Others
43 | Electricity Sold | MWh | Total electricity billed to customers in MWh for each grid | 5421.1047 |  |  |  | MWh
44.1 | Total No. of Customers at Start of Benchmarking Period (Main Grid) | connections | Number of customers on main grid at the start of the benchmarking period. Include total of all customer classes for all the networks. | 2016-10-01 | 1785 | connections |  |  | NEW Qs
44.2 | Total No. of Customers at End of Benchmarking Period (Main Grid) | connections | Number of customerson main grid at the end of the benchmarking period. Include total of all customer classes for all the networks. | 2017-09-30 | 1743 | connections |  |  | NEW Qs
45.1 | Total No. of Customers at Start of Benchmarking Period (Entire System) | connections | Number of customers across all grids at the start of the benchmarking period. Include total of all customer classes for all the networks. | 2016-10-01 | 1785 | connections
45.2 | Total No. of Customers at End of Benchmarking Period (Entire System) | connections | Number of customers across all grids at the end of the benchmarking period. Include total of all customer classes for all the networks. | 2017-09-30 | 1743 | connections
46 | Number of Households Supplied (Domestic Connections) | connections | Combined number of domestic connections across all grids, taken at end of benchmarking period | 1400 | connections
47 | Total Number of Households in the Country | households | The total number of households in the country. | 1143 | households |  |  |  | Data from 2010 census
48 | Lifeline Tariff Available? | Y/N | Indicate Yes or No | No
49 | Maximum Threshold for Monthly Consumption Under Tariff | kWh/mth | Provide the tariff threshold in kWh/month |  | kWh/mth
50 | Tariff Schedule / Tariff Table Attached? | Y/N | Please attach tariff schedule/table and indicate Yes when this is done. | Yes
51 | Total Electricity Billed under Lifeline Tariff | MWh | The total electricity billed to customers under Lifeline Tariff in MWh. |  | MWh
52 | Total Domestic Electricity Billed | MWh | The total electricity billed to customers under domestic tariff in MWh. | 2105.6601 | MWh
53 | Total Commercial Electricity Billed | MWh | The total electricity billed to customers under the commercial tariff in MWh. | 1728.7145 | MWh
54 | Total Industrial Electricity Billed | MWh | The total electricity billed to customers under the industrial or maximum demand tariff in MWh. | 233.13 | MWh
55 | Total 'Other' Electricity Billed (eg Govt if not included above etc) | MWh | The total electricity billed to customers not included in the above categories, eg if Govt is not included in the above categories. Please specify in Comments column | 1309.0214 | MWh
56 | Total Unbilled Electricity Usage | MWh | e.g Head Office, Water Services, Street Lighting etc. (This does not include power station usage/station auxiliiaries) | 44.5746 | MWh
57 | Is the utility self regulated or externally regulated? | self / external | Select self regulated or externally regulated. Provide any details | self regulated | Select correct answer
58 | Do you have a maintenance plan for your utility? | Y/N | This may cover generation, transmission, distribution. Please attach plan. | Yes
Ref | Input Name | Units | Explanation | System Data |  |  |  |  | Comments
| Finance |  |  | Finance information is to be combined for the ENTIRE UTILITY SYSTEM
59 | Depreciation Generation Assets | USD | Total depreciation of generation assets over the benchmark period | 120074 | USD
60 | Depreciation Transmission & Distribution Assets | USD | Total depreciation of transmission & distribution assets over the benchmark period | 224727 | USD
61 | Other Depreciation | USD | Total depreciation on other electricity assets excluding generation, transmission & distribution assets for benchmarking period. | 26747 | USD
62 | Total Operating Revenue | USD | Total Operating Revenue earned from electricity sales. | 2582991 | USD
63 | Total Operating Expenses | USD | Total Operating Expenses excluding depreciation, interest and tax. | 2647968 | USD
64 | Earnings Before Interest and Tax (EBIT) / Operating Profit | USD | Sales revenue minus the cost of goods sold and all expenses except for interest and taxes | -12369 | USD
65 | Profit After Tax (PAT) / Earnings After Tax (EAT) | USD | Sales revenue after deducting all expenses, including taxes | -17009 | USD
66 | Long Term Debt / Non Current Liability | USD | Funds obtained from loans, mortgages, bonds, etc. that have repayment terms longer than one year | 0 | USD
67 | Equity / Net Assets / Capital and Reserves | USD | Equity / Net Assets / Capital & Reserves represents the owner’s funds or claims the owners have on the business. | 3971710 | USD
68 | Non Current Asset at End of Previous Period | USD | The assets that are consumed over a period of more than a year taken from end of prev period | 2651864 | USD
69 | Non Current Asset at End of Benchmarking Period | USD | The assets that are consumed over a period of more than a year taken from end of benchmarking period | 2494306 | USD
70 | Current Assets | USD | Value of all assets that are reasonably expected to be converted into cash within one year | 1731424 | USD
71 | Current Liabilities | USD | Company's debts or obligations that are due within one year | 254020 | USD
72 | Debtors/Receivables at Period End | USD | Money owed to a business by its clients (customers) and shown on its Balance Sheet as an asset | 184171 | USD
73 | Are utility finances independently audited? | Y/N | If Yes, indicate who the auditor was in Comments column | Yes |  |  |  |  | Deloite
74 | What is the accounting standard used by the utility? |  | eg US GAP, IAS, IPSA, None etc | US GAP
[5 empty] | Grid 2 | Grid 3 | Others
75 | Cost of Fuel | 0 | Total Cost of Fuel Per Annum |  |  |  |  | 0
76 | Cost of Oil | 0 | Total Cost of Oil Per Annum |  |  |  |  | 0
Generation Expenditure
75 | Hydrocarbon Based Fuel & Lubrication Oil Expenditure | USD | Total expenditure on distillate fuel oil, heavy fuel oil, coconut oil, other hydro carbon based fuels, and lubricating oil | 1392011 | USD
76 | Duty and Taxes on Hydrocarbon Based Fuel & Lubricating Oil | USD | Total duty and taxes paid hydrocarbon based fuel & lubricating oil |  | USD
77 | Total Generation O&M Costs (utility) | USD | Total cost for operations and maintenance of the Utility. This excludes all IPP generation costs and fuel and oil costs. | 217886 | USD |  |  | USD
78 | Generation Labour | USD | Total expenditure on labour associated with the generation of electricity | 102861 | USD
Transmission/ Distribution Expenditure
79 | Transmission/ Distribution O&M Cost | USD | Total expenses incurred in the operations and maintenance of the distribution network | 286236 | USD
80 | Transmission/ Distribution Labour | USD | Total expenditure on labour for transmission & distribution operations | 143538 | USD
Overheads/ Other Expenditure
81 | Other Labour Expenditure (Customer Service, Head Office, Finance, HR, others) | USD | Total labour expenditure for head office and other labour for electricity operations | 248806 | USD
82 | Other Duty/ Taxes | USD | All duty and taxes paid to government for equipment and supplies. Do not include personal income tax and other taxes applicable to workers remuneration. GST, VAT or other forms of sales tax is also excluded |  | USD
83 | Other Expenditure | USD | Total expenditure on items not included in any of the above. | 228452 | USD
| Please go to 'Data Reliability' Sheet and complete. |  | Have you completed the Data Reliability Assessment (see 'Data Reliability' Worksheet? | Y/N | Completed? Y/N
| Please Complete Section 1 (Word Document) provided. |  | Please Ensure Section 1 (Word Document) provided (on organisational structure etc) is completed and submitted in Word format, with Tariff Schedule (PDF ok). | Y/N | Completed? Y/N
Note on B20: Pauline: Is this attached?

## Data Reliability
TA -6522 REG: Establishment of the Pacific Infrastructure Advisory Centre - Performance Benchmarking for Pacific Power Utilities
Data Reliability Grading: Key Data Components and Reliability Grading Definitions
Consistent with the approach taken in 2012, the questionnaire requires utilities to provide a self-assessed relability grade for six key components of the primary data (Table 1) in order to better understand data quality issues and encourage improvements in data reliability. Please carefully consider progress or otherwise against the 2012 self- assessment. The general reliability expectations of each grade are described below in Table 2, where A represents the most reliable data and D the least reliable data. Further guidance for each component is given in Table 3, although this is not intended to be a detailed specification. Self-assessments will remain at least partially subjective as a result of variations in circumstances and scale. Please select the Reliability Grade that best represents the reliability for each component in Table 1 (blue cells), and provide any additional comments in the space provided in Table 3 (blue cells).
Table 1 - Key Data Component Reliability Assessment Questions
Question | Description |  | Reliability Grade (A, B, C or D) | Refer to Table 2 below for Reliability Grade Explanations
i. | How is fuel consumption calculated or derived? |  | B | Please fill in any supporting information on your self assessment in Table 3 i below | A
ii. | How are generation quantities calculated or derived? |  | B | Please fill in any supporting information on your self assessment in Table 3 ii below | B
iii. | How are customer outage impacts calculated or derived? |  | B | Please fill in any supporting information on your self assessment in Table 3 iii below | C
iv. | How are network demands and capacity utilisation calculated or derived? |  | B | Please fill in any supporting information on your self assessment in Table 3 iv below | D
v. | How are the number of connections or customers calculated? |  | A | Please fill in any supporting information on your self assessment in Table 3 v below
vi. | Where is financial information sourced from? |  | A | Please fill in any supporting information on your self assessment in Table 3 vi below
Table 2 - General Reliability Evaluation
Reliability Grade | Reliability | Description
A | Highly Reliable | Data is based on sound records, procedures, investigations or analyses that are properly documented and recognised as the best available assessment methods. Effective metering or measurement systems exist.
B | Reliable | Generally as in Category A, but with minor shortcomings, e.g. some of the documentation is missing, the assessment is old or some reliance on unconfirmed reports; or there is some extrapolation made (e.g. extrapolations from records that cover more than 50 percent of the utility system).
C | Unreliable | Generally as in Category B, but data is based on extrapolations from records that cover more than 30 per cent (but less than 50 per cent) of the utility system.
D | Highly Unreliable | Data is based on unconfirmed verbal reports and/or cursory inspections or analysis, including extrapolations from such reports/inspections/analysis. There are no reliable metering or measurement systems.
Table 3 - Reliability Grading Guidance
Reliability Grade | Description
i. | How is fuel consumption calculated or derived? |  | Related Questionnaire Data Inputs | Comments
A | Accurate records are kept of deliveries, inventory and consumption of oil and fuel type by location, station and unit. Fuel consumption measurement equipment is temperature compensated. Monthly fuel consumption measurement is taken for each unit and fuel consumption audits are regularly undertaken and reconciled by unit. Audits are carried out by both internal and external parties. |  | 9, 10
B | Records are kept of deliveries, inventory and consumption of oil and fuel type by location and station. Fuel consumption measurement equipment is not temperature compensated. Fuel consumption measurement is taken for power stations and fuel consumption audits are undertaken and reconciled by power stations. Audits are carried out by internal and external parties.
C | Some records are kept of deliveries, inventory and consumption of oil and fuel type by location and station. Fuel consumption measurement are done by dip stick. Fuel consumption audits are only undertaken by an external party annually and reconciled by power stations.
D | Some records are kept of deliveries, inventory and consumption of oil and fuel type by location and station. Fuel consumption measurement are done by dip stick. Fuel consumption audits are rarely undertaken or irregular. Heavy reliance on fuel supplier information.
ii. | How are generation quantities calculated or derived? |  | Related Questionnaire Data Inputs | Comments
A | Generation quantities are computed on the basis of measurement by station, unit and auxiliary metering at all grid connected generation points, which are calibrated / verified for accuracy regularly. Generation profiles are monitored continuously and there is an established process for reporting capacity factors. There is an established process for derating of generators and reporting of all related volumes. |  | 2 to 8 inclusive 11 to 17 inclusive
B | Generation quantities are computed on the basis of measurement by unit and station metering at all grid connected generation points. Meters may not be calibrated or verified for accuracy. Reliable generation profiles are available. More manual processing and interpretation of records may be required than A.
C | Reliable and calibrated metering is not available at all grid connected generation points. Generation profiles are estimated or extrapolated. Derating information is not routinely recorded.
D | Aggregated generation information is available, with limited information available on unit and station profiles and capacity factors. No reliable calibrated metering systems exist.
iii. | How are customer outage impacts calculated or derived? |  | Related Questionnaire Data Inputs | Comments
A | Details of individual HV network or generation outages are available and used to calculate customer impact measures and reliability statistics. Records of trip times, restoration sequences, and affected customer numbers are available from SCADA, generator, substation, operating or other records. Outage records are suitable for causal analysis and performance improvement. An established and auditable process is used for evaluation of outage impacts. |  | 11 to 16 inclusive 20,21 24, 27, 28
B | Reliable assessment of HV network and generation outages are available, but may require more manual processing of information from source records than in A. Customer numbers for network segments and affected areas are used to derive reliability statistics but may not be up to date at all times.
C | Where outage impacts are assessed, they use estimates of outage durations and affected customer numbers. It is likely that not all outages are captured in reporting statistics. Limited processes exist for fault causal analysis and reporting.
D | Outage analysis may only be performed for large outages, if at all. Outage details are not recorded consistently or for reporting purposes. It may be difficult to extract information from generator, substation and operating records. There are no established processes related to customer outage analysis.
iv. | How are network demands and capacity utilisation calculated or derived? |  | Related Questionnaire Data Inputs | Comments
A | Calibrated metering equipment is installed at all zone and distribution substations and at consumer’s premises for all categories of consumers. Demand information is captured throughout the network. Records are up to date and identify installed capacity of lines and transformers. Billing records and databases reveal regular reading of meters. Established processes exist and are used for reporting of capacity utilisation, losses and network demand profiles. Power system anaysis software may be in use and routinely undertaken. Detailed loss breakdowns are regularly updated and available. |  | 4, 5, 23, 26, 32
B | Generally as per A, although processes and systems are not as developed. Limitations of installed metering and substation equipment will require more manual processing of information. Asset records are missing information requiring some extrapolation for assessment purposes. Power system analysis software or studies may be undertaken from time to time.
C | Metering is not comprehensive enough to allow evaluation of demand and losses easily throughout the network. There may be significant limitations in the records of installed assets. Billing records and aggregate consumption information is incomplete.
D | Asset records may be well out of date and metering coverage of the network poor. Major assumptions required for evaluation of utilisation at an aggregate level. No meaningful loss breakdown possible. No recent power system analysis completed.
v. | How are the number of connections or customers calculated? |  | Related Questionnaire Data Inputs | Comments
A | Billing records and databases clearly identify customer specific meters. Billing processes reveal regular reading of meters and meter readings are the basis for charging consumers. Databases of electricity connections and meters are complete. There is a mechanism to identify faulty meters and repair meters. Processes for installation of new connections, installation of meters and generation of bills based on this are interlinked with a robust process. |  | 43 to 56 inclusive
B | Database/ records reveal the list of customers that have meters installed in their electricity connections. Meter data and associated customer databases may be limited and the linkage with the billing system harder to demonstrate.
C | Records do not reveal the exact number of connections which are metered . Not all billing is based on metered quantities. Processes associated with new connections and metering management may not be robust.
D | No formalised processes for metering and connection management. Number of current connections estimated with poor linkages to billing system and database coverage.
vi. | Where is financial information sourced from? |  | Related Questionnaire Data Inputs | Comments
A | Major budget and functional reporting categories identified and separated. Cost allocation standards for common costs are in place. An accrual based double entry accounting system is practiced. Accounting standards are comparable to commercial accounting standards with clear guidelines for recognition of income and expenditure. Accounting and budgeting manuals are in place and are adhered to. Financial statements have full disclosure and are audited regularly and on time. |  | 59 to 83 inclusive
B | Key costs related to generation and distribution are identifiable, although complete segregation is not practiced. Key income and expenditure is recognised based on accrual principles, but accounting standards may not be comparable to commercial accounting standards. Disclosures are complete and are timely and audits undertaken.
C | Major budget and functional reporting categories are not clearly separated, eg, between electricity power supply costs and costs for other utility functions such as water, sewerage, etc. Limited useful functional reporting and cost allocation principles in place. Audits may have a significant time lag or may be irregular.
D | There is no segregation of major budget and functional categories, eg, no clear distinction between electricity power supply costs and costs for other utlity functions such as water, sewerage, etc. A cash-based accounting system may be practiced. There are no clear systems for reporting unpaid expenditure or revenues that are due. Disclosures and reporting may not be timely.
Please go to 'Governance' Sheet and complete.

## Governance
Governance Indicator Questionnaire
Instructions: Please answer all questions with either a 'Yes' or 'No' response, providing explanatory notes in the adjoining column
Question | Response (Y/N) | Explanation
1. Are government ministers appointed to the board? | Yes | The Director of Public Works sit as an Ex Oficio Board Member
2. If government ministers or other public servants are appointed to the board, do they represent their line and/or sector ministry? | Yes | The Director of Public Works directs the Infrastructure sector of the State
3. Does the Board have a conflict of interest policy and a code of conduct that is being fully implemented? | Yes | Please explain why answer is either a 'Yes' or a 'No'
4. Is the utility operating within a clearly defined commercial mandate? | Yes | The Board complies with the state Law that created KUA
5. Is the CEO of the utility on a performance contract which has annual reviews? | Yes | Please explain why answer is either a 'Yes' or a 'No'
6. Does the Board develop a forward looking business plan, with financial, operational and capital expenditure projections that covers a minimum time period of three (3) or more years? | Yes | The Board is guided by the Energy Action Plan of the State and National Govt.
7. Is an audited annual report completed withn four months of the closure of each financial period? | Yes | Please explain why answer is either a 'Yes' or a 'No'
8. Does the annual report disclose the companies performance against the srategic plan? | Yes | Please explain why answer is either a 'Yes' or a 'No'
Please go to 'Gender' Sheet and complete.
Yes
No
-

## Gender
Gender Questionnaire
Instructions: Please answer all questions with either a Yes, No, or Number (as appropriate), providing explanatory notes in the adjoining column as required
Gender Question |  | Answer
1. Total number of staff in the organisation | Total number of staff | 30
| Total number of male staff | 25
| Total number of female staff | 5
2. Technical staff in the organisation (Generation, Transmission, Distribution Depts) | Total number of technical staff | 19
| Total number of male technical staff | 19
| Total number of female technical staff | 0
3. Is the CEO/General Manager/first officer in charge male or female? (M/F) |  | Male
4. Is the second officer in charge of the organisation male or female? (M/F) |  | Male
5. Senior Staff reporting directly to the CEO | Total number of senior staff | 4
| Total number of male senior staff | 4
Total number of female senior staff
6. Number of senior female staff in the organisation, according to role | Finance | 1 | Asst Comptroller
Procurement / Supply
Human Resources
PR/Cust Service/Comms
Admin
| Other |  | Please provide a description as to what roles other staff occupy
7. Is the Personal Assistant and/or Secretary to the CEO male or female? (M/F) |  | Male
8. Any other relevant comments |  | Please enter any further additional and relevant gender comments here as necessary
Male
Female
-

## Indicators
KPI # | Indicator Name | Definition |  | Value | Unit | Comments
NOTE: If your currency is not USD, you will need to fill in Cell F36 on the 'Calculated Factors' Sheet for the Indicators represented in USD to be correct. For the Benchmarking Analysis the exchange rates will be re-set using the applied currency conversion methodology
Generation
|  |  | Main Grid only | All Grids
1 | Load Factor |  | 53.2249 | 53.2249 | %
2 | Capacity Factor |  | 24.4244 | 24.4244 | %
3 | Availability Factor |  | 99.9372 | 99.9372 | %
4 | Generation Labour Productivity |  | 0.82086 | 0.82086 | GWh/FTE generation employee
5 | Specific Fuel Oil Consumption (volume) |  | #REF! | 3.0644 | kWh/L
5.1 | Specific Fuel Oil Consumption (weight) |  | 3.0644 | #DIV/0! | kWh/kg
6 | Lube Oil Consumption |  | 967.4451 | 967.4451 | kWh/L
7 | Forced Outage |  | 0.062774 | 0.062774 | % | Include forced outages and capacity unavailablity due to derating
8 | Planned Outage |  | 0 | 0 | %
9 | Generation O&M Costs |  |  | 59.4715 | US$/MWh
10 | Power Station Usage |  | 1.1081 | 1.1081 | %
11 | Renewable Energy to Grid |  | 6.9458 | 6.9458 | %
12 | IPP Energy Generation |  | 0 | 0 | %
13a | Distillate Generation |  | 93.0661 | 93.0661 | %
13b | Heavy Fuel Oil Generation |  | 0 | 0 | %
13c | Biofuel Generation |  | 0 | 0 | %
13d | Mixed Fuel Generation |  | 0 | 0 | %
13e | LNG Generation |  | 0 | 0 | %
14 | Enabling Framework for Private Sector |  |  | No
Transmission
15 | Transmission Losses |  | 100 |  | %
16 | Transmission Reliability |  | #DIV/0! |  | outage events/100 km
17 | Transmission SAIDI (planned) |  | #DIV/0! |  | mins
17.1 | Transmission SAIDI (unplanned) |  | #DIV/0!
Distribution
18 | Network Delivery Losses |  | #REF! | 2.0223 | %
19 | Distribution Losses |  | #REF! |  | %
20 | Customers per Distribution Employees |  |  | 110.25 | customers/distribution employee
21 | Distribution Reliability |  | 40.0439 |  | events/100km
22 | Distribution Transformer Utilisation |  | #REF! |  | %
23 | Distribution O&M Cost |  | 6156.3738 |  | US$/km
24 | Distribution SAIDI (Total) |  | 507.2738 |  | mins per customer
24.1 | Distribution Related SAIDI (Unplanned) |  | 436.8373 |  | mins per customer
24.2 | Distribution Related SAIDI (Planned) |  | 70.4365 |  | mins per customer
25 | Distribution SAIFI (Total) |  | 25.5595 |  | events per customer
25.1 | Distribution Related SAIFI (Unplanned) |  | 24.996 |  | events per customer
25.2 | Distribution Related SAIFI (Planned) |  | 0.56349 |  | events per customer
25.3 | Generation SAIDI (Total) |  | 899.3135 |  | mins per customer
25.31 | Generation Related SAIDI (Unplanned) |  | 899.3135 |  | mins per customer
25.32 | Generation Related SAIDI (Planned) |  | 0 |  | mins per customer
25.33 | Genertaion SAIFI (Total) |  | 0.80669 |  | events per customer
25.34 | Genertaion Related SAIFI (Unplanned) |  | 0.80669 |  | events per customer
25.36 | Genertaion Related SAIFI (Planned) |  | 0 |  | events per customer
25.41 | Total SAIDI (Generation and Dist) |  | 1406.5873 |  | mins per customer
25.42 | Total SAIFI (Generation and Dist) |  | 26.3662 |  | events per customer
KPI # | Indicator Name |  | Value | Value | Unit | Comments
Demand Side Mangement
26 | DSM Initiatives |  |  | Yes
27 | DSM Budget |  |  | 0 | USD
28 | DSM FTE Employees |  |  | 0 | FTE employees
29 | DSM MWh Savings |  |  | 0 | MWh
30 | Power Quality Standards |  |  | KUA
Human Resources / Safety
31 | Lost Time Injury Duration |  |  | 0 | days
32 | Lost Time Injury Frequency Rate |  |  | 0 | injuries per million hrs worked
33 | Labour Productivity |  |  | 58.4009 | customers/FTE employee
Customers / General
34 | Service Coverage |  |  | 122.4847 | %
35 | Productive Electricity Usage |  | #REF! | 60.3358 | %
36a | Lifeline Tariff Usage |  |  | 0 | %
36b | Domestic Usage |  |  | 38.8419 | %
36c | Commercial Usage |  |  | 31.8886 | %
36d | Industrial Usage |  |  | 4.3004 | %
36e | Other Usage |  |  | 24.1468 | %
37 | Customer Unbilled Electricity |  |  | 0.82224 | %
38 | Self Regulated or Externally Regulated |  |  | self regulated
Financial Indicators
39 | Operating Ratio |  |  | 116.9
40 | Debt to Equity Ratio |  |  | 0 | %
41 | Rate of Return on Assets |  |  | -0.48071 | %
42 | Return on Equity |  |  | -0.42825 | %
43 | Current Ratio |  |  | 681.6093
44 | Debtor Days |  |  | 26.025 | days
45 | Average Supply Cost |  | #REF! | 50.6724 | US c /kWh
Utility Cost Breakdown
46.1 | Fuel and Lube Oil |  |  | 46.5347 | %
46.2 | Fuel Duty |  |  | 0 | %
46.3 | Gen O&M |  |  | 7.2839 | %
46.4 | Gen Labour |  |  | 3.4386 | %
46.5 | Gen Depreciation |  |  | 4.0141 | %
46.6 | T&D O&M |  |  | 9.5688 | %
46.7 | T&D Labour |  |  | 4.7985 | %
46.8 | T&D Depreciation |  |  | 7.5126 | %
46.9 | Other Overheads |  |  | 8.3175 | %
46.1 | Other Depreciation |  |  | 0.89415 | %
46.11 | Other Taxes |  |  | 0 | %
46.12 | Other Miscellaneous |  |  | 7.6371 | %
100
Note on H62: Pauline: Have activities stopped now?

## Calculated Factors
Calc Factor Reference | Calculated Factor | Defintion |  | Value | Units |  | Comments
|  |  | Main Grid Only | All Grids
A | Gross Generation | Total Utility Generation + Total IPP Generation Purchased | 5595 | 5595 | MWh
| Total Utility Generation | Total Utility Generation | 5595 | 5595
| Total IPP Generation Purchased | Total IPP Generation Purchased | 0 | 0
B | Net Generation | Gross Generation - Power Station Usage | 5533 | 5533 | MWh
C | Total Utility Generation Capacity | [Sum of (Generator Nameplate Capacity Rating)]*Annual Hours | 22907.4 | 22907.4 | MWh
D | Total Guaranteed/Contracted IPP Generation Capacity | Guaranteed/Contracted IPP Generation Capacity | 0 | 0 | MWh
E | Total Installed System Generation Capacity | Total Utility Generation Capacity + Total Guaranteed/Contracted IPP Generation Capacity | 2.615 | 2.615 | MW
F | Total Number of FTE Generation Employees | Paid Hours Generation Labour/2000 | 6.816 | 6.816 | FTE employees
G | Total Fuel Oil Generation | Sum of (Generation by (Distillate + HFO + Biofuel + Mixed Fuel)) | 5207.0505 | 5207.0505 | MWh
H | Total Fuel Usage (L) | Sum of (Fuel Usage (L) by (Distillate + HFO + Biofuel + Mixed Fuel + LNG)) | #REF! | 1699196 | L
| Total Fuel Usage (kg) | Sum of (Fuel Usage (kg) by (Distillate + HFO + Biofuel + Mixed Fuel + LNG)) | 1699196 | 0 | kg
I | Total Utility Capacity Hours Out Of Service | Sum of (Utility Capacity Hours Out of Service Due to Generation (Forced + Planned + De-rated) Outage Events) | 14.38 | 14.38 | MWh
J | Total IPP Capacity Hours Out Of Service | Sum of (Utility IPP Hours Out of Service Due to Generation (Forced + Planned + De-rated) Outage Events) | 0 | 0 | MWh
K | Total Capacity Hours Out Of Service | Total Utility Capacity Hours Out Of Service + Total IPP Capacity Hours Out Of Service | 14.38 | 14.38 | MWh
L | Average Number of Distribution & Customer Service Employees | (Sum of (Total Number of Employees in Distribution & Customer Service at (Start and End) of Period)]/2 |  | 16 | employees
M | Average Number of Customers | [Sum of (Total Number of Customers at (Start and End) of Period)]/2 | 1764 | 1764 | connections
N | Average Non Current Assets | [Sum of (Non Current Assets (at End of Previous Period + at End of Benchmarking Period))]/2 |  | 2573085 | Currency Used by Utility to Report Costs:
O | Total Renewable Energy Generation | [Sum of (Generation by (Hydro,Wind,Solar,Biomass,Geothermal,Biofuel,Other Renewable))] | 388.6202 | 388.6202 | MWh
P | Total Billed Electricty Usage | Total Electricity Billed under (Lifeline + Domestic + Commercial + Industrial + Other) |  | 5376.526 | MWh
| Total Electricity Sold | Total Electricity Sold | #REF! | 5421.1047 | MWh
| Total Productive Electricty Sold | Commercial + Industrial + Other |  | 3270.8659
| FTE Utility | Total Paid Hrs divided by FTE |  | 30.205
Q | Total Generation Costs | Generation O&M (USD) + Gen Labour (USD) |  | 332742.9378 | USD
R | Total Transmission and Dist Costs | T&D O&M (USD) + T&D Labour (USD) |  | 445847.5476 | USD
| Total Number of FTE Employees | Total Paid Hours Labour/2000 |  | 0 | FTE employees
| Utility Cost Breakdown Total Cost | Includes fuel, taxes, Gen and Dist O&M, Labour, deprec, and other overheads, taxes, deprec etc |  | 2991338
Constants
| Annual Hours | Total hours in a year | 8760 | h
| FTE | Hours per year for 1 FTE | 2000 | h
Currency Conversion
|  |  | Currency | Conversion Factor
| Currency Conversion Rate | Multiplier to be used for converting local currency to US$ | USD | 1.0374 | to converto to USD | You may enter an approximate conversion factor in Cell [F39] to convert from your currency to USD, so to see approximate calculation for indicators expressed in USD (refer 'Indicators' Sheet).
| DSM Budget |  | 0 | 0 | USD
| Total Operating Expenses |  | 2647968 | 2747002.0032 | USD
Units Conversion (weights, lengths etc)
| Fuel Usage |  |  | Main | All grids
| Distillate (ADO or IDO) | Multiplier to be used for converting to L | 1 | #REF! | 1699196 | L
| Heavy fuel oil (HFO or IFO) | Multiplier to be used for converting to L | 1 | 0 | 0 | L
| Biofuels | Multiplier to be used for converting to L | 1 | 0 | 0 | L
| Mixed fuel | Multiplier to be used for converting to L | 1 | 0 | 0 | L
| LNG | Multiplier to be used for converting to L | 1 | 0 | 0 | L
Fuel Usage (weight where available)
| Distillate (ADO or IDO) | Multiplier to be used for converting to kg | 1 | 1699196 | 0 | kg
| Heavy fuel oil (HFO or IFO) | Multiplier to be used for converting to | 1 | 0 | 0 | kg
| Biofuels | Multiplier to be used for converting to tons | 1 | 0 | 0 | kg
| Mixed fuel | Multiplier to be used for converting to tons | 1 | 0 | 0 | kg
| LNG | Multiplier to be used for converting to tons | 1 | 0 | 0 | kg
| Total Lubricants Used in Generation | Multiplier to be used for converting to L | 1 | 5382.27 | 5382.27 | L
| Length of Transmission Line | Multiplier to be used for converting to km | FALSE | 0 | km
| Length of Distribution Line | Multiplier to be used for converting to km | 1.6093 | 72.4205 | km
Note on B7: Pauline: should this include ipps?
Note on C11: Pauline: Not incl LNG
Note on G14: Pauline: these were in h but I change to MWh, as for TOTAL
Note on C21: Pauline: Is lifeline not shown in domestic? Ie we should add lifeline to domestic to get the total electricity?
Note on F21: Pauline: this was prev divided by 1000 but I took it out
Note on F37: Pauline: This formula is in development; Need to add the rest of the currencies to this formula once the conversion methodology is finalised. Link the currencies to a new worksheet, so they can be easily updated.

## Reference Unit Conversion
Fuel conversion factors and Terms & Abbreviations:
Kilo (= thousand) | k | 1,000 or 10^3
Mega (= million) | M | 1,000,000 or 10^6
Giga (= billion) | G | 1,000,000,000 or 10^9
Tera (= trillion) | T | 1,000,000,000,000 or 10^12
Joule | J |  | These conversions will be used if specific data on fuel used or weight based consumption not provided
Watt | W
Watt hour | Wh | Thus 1 kWh = 1,000 Wh; 1 MWh = one million Wh | Fuel | Unit | Typical | Typical | Gross Energy |  | Oil Equiv.: | Kg CO2 equivalent
[5 empty] | Density | Density | MJ / | MJ/ | toe / unit
One standard year = 8760 hours | year | (Not actually true for a leap year but used anyway) |  |  | kg / litre | l / tonne | kg | litre | (net) | per GJ | per litre
1.0 km (kilometre) = 0.6214 miles (mi) |  |  | IFO or HFO | tonne | 0.9 | 1110 | 44.5 | 40.1 | 1.04 | 81.5 | 3.4
1.0 litre = 0.26417 US gallons = 0.220 imperial (UK) gallons |  |  | IDO or ADO | tonne | 0.84 | 1190 | 46 | 38.6 | 1.08 | 70.4 | 2.7
1.0 US gallon = 3.7854 litres
1.0 metric ton (tonne) = 1.1023 short tons = 0.984 long tons (English tons) |  |  | Petroleum values from Australian Institute of Petroleum (undated)
1 mile | 1.6093 | km
Note on reliability & interruptions:
`
Unplanned interruptions | Interruptions to customer supply caused by unplanned outages of the distribution network, or transmission/generation failures that affect customers connected to the distribution network, excluding the customer service connection. Also excludes brief or momentary interruptions (<1 minute). Includes supply to a single customer.
Planned Interruptions | Interruptions to customer supply caused by planned outages of distribution networks, or transmission/generation failures that affect customers connected to the distribution network. Includes supply to a single customer.

## Tariff Schedule and Taxes
Paste your tariff schedule here
Please attach you trariff shedule here

## BM Period Year Start and end
|  |  | 2016 |  |  |  |  | 2017
Pacific Utilities | Country | Local Currency | Benchmarking Period Start | Benchmarking Period End | Multiplier to Convert to USD (Ave. Rate) | End Fiscal Year Conversion | Difference | Benchmarking Period Start | Benchmarking Period End | Multiplier to Convert to USD (Ave. Rate) | End Fiscal Year Conversion | Difference
ASPA | American Samoa | USD | 2015-10-01 | 2016-09-30 | 1 | 1 | 0 | 2016-10-01 | 2017-09-30 | 1 | 1 | 0
CPUC | Chuuk, FSM | USD | 2015-10-01 | 2016-09-30 | 1 | 1 | 0 | 2016-10-01 | 2017-09-30 | 1 | 1 | 0
CUC | Saipan, Northern Marianas | USD | 2015-10-01 | 2016-09-30 | 1 | 1 | 0 | 2016-10-01 | 2017-09-30 | 1 | 1 | 0
EDT | French Polynesia | XPF | 2016-01-01 | 2016-12-31 | 0.009259 | 0.008825 | 0.000434 | 2017-01-01 | 2017-12-31 | 0.009456 | 0.010005 | -0.000549 | ^
EEC | New Caledonia | XPF | 2016-01-01 | 2016-12-31 | 0.009259 | 0.008825 | 0.000434 | 2017-01-01 | 2017-12-31 | 0.009456 | 0.010005 | -0.000549
EEWF | Wallis and Fortuna | XPF | 2016-01-01 | 2016-12-31 | 0.009259 | 0.008825 | 0.000434 | 2017-01-01 | 2017-12-31 | 0.009456 | 0.010005 | -0.000549
ENERCAL | New Caledonia | XPF | 2016-01-01 | 2016-12-31 | 0.00928 | 0.008825 | 0.000455 | 2017-01-01 | 2017-12-31 | 0.009456 | 0.010005 | -0.000549
EPC | Samoa | WST | 2015-07-01 | 2016-06-30 | 0.42146 | 0.38832 | 0.033136 | 2016-07-01 | 2017-06-30 | 0.39067 | 0.39359 | -0.002921
FEA | Fiji | FJD | 2016-01-01 | 2016-12-31 | 0.47736 | 0.4725 | 0.004856 | 2017-01-01 | 2017-12-31 | 0.48344 | 0.4855 | -0.002055
GPA | Guam | USD | 2015-10-01 | 2016-09-30 | 1 | 1 | 0 | 2016-10-01 | 2017-09-30 | 1 | 1 | 0
HECO | Hawaii, USA | USD | 2015-10-01 | 2016-09-30 | 1 | 1 | 0 | 2016-10-01 | 2017-09-30 | 1 | 1 | 0
KAJUR | Kwajalein Atoll, Marshall Islands | USD | 2015-10-01 | 2016-09-30 | 1 | 1 | 0 | 2016-10-01 | 2017-09-30 | 1 | 1 | 0
KUA | Kosrea, FSM | USD | 2015-10-01 | 2016-09-30 | 1 | 1 | 0 | 2016-10-01 | 2017-09-30 | 1 | 1 | 0
MEC | Marshall Islands | USD | 2015-10-01 | 2016-09-30 | 1 | 1 | 0 | 2016-10-01 | 2017-09-30 | 1 | 1 | 0
NPC | Niue | NZD | 2015-07-01 | 2016-06-30 | 0.7777 | 0.68295 | 0.09475 | 2016-07-01 | 2017-06-30 | 0.71201 | 0.73217 | -0.020162
NUC | Nauru | AUD | 2015-07-01 | 2016-06-30 | 0.72825 | 0.74409 | -0.01584 | 2016-07-01 | 2017-06-30 | 0.76664 | 0.78049 | -0.013851
PPL | Papua New Guinea | PGK | 2016-01-01 | 2016-12-31 | 0.31394 | 0.30645 | 0.007494 | 2016-01-01 | 2017-12-31 | 0.30704 | 0.30381 | 0.003228
PPUC | Palau | USD | 2015-10-01 | 2015-09-30 | 1 | 1 | 0 | 2016-10-01 | 2016-09-30 | 1 | 1 | 0
PUB | Kiribai | AUD | 2015-01-01 | 2016-12-31 | 0.74362 | 0.71971 | 0.023913 | 2016-01-01 | 2017-12-31 | 0.76664 | 0.78049 | -0.013851
PUC | Pohnpei, FSM | USD | 2015-10-01 | 2016-09-30 | 1 | 1 | 0 | 2016-10-01 | 2017-09-30 | 1 | 1 | 0
SIEA | Solomon Islands | SBD | 2016-01-01 | 2016-12-31 | 0.12549 | 0.1224 | 0.003086 | 2016-01-01 | 2017-12-31 | 0.1252 | 0.12407 | 0.001132
TAU | Cook Islands | NZD | 2015-07-01 | 2016-06-30 | 0.66793 | 0.71088 | -0.042948 | 2016-07-01 | 2017-06-30 | 0.71201 | 0.73217 | -0.020162
TEC | Tuvalu | AUD | 2016-01-01 | 2016-12-31 | 0.74362 | 0.71971 | 0.023913 | 2017-01-01 | 2017-12-31 | 0.76664 | 0.78049 | -0.013851
TPL | Tonga | TOP | 2015-07-01 | 2016-06-30 | 0.44038 | 0.44172 | -0.001339 | 2016-07-01 | 2017-06-30 | 0.43898 | 0.4449 | -0.005919
UNELCO | Vanuatu | VUV | 2016-01-01 | 2016-12-31 | 0.009203 | 0.009348 | -0.000145 | 2017-01-01 | 2017-12-31 | 0.009251 | 0.009346 | -9.5e-05
YSPSC | Yap, FSM | USD | 2015-10-01 | 2016-09-30 | 1 | 1 | 0 | 2016-10-01 | 2017-09-30 | 1 | 1 | 0
Note to be considered:
- Rates used in Columns G and L is based on the last date of the financial year of respective utilities.
- Rates used in Columns F and K is the average rate of the financial year of respective utilities.
- Website the rates are taken from http://www.oanda.com/currency/historical-rates/
- Reason normally behind using the last day Ask rate which is the inwards rates gives a true & fair view reflection of the fiancial reports in terms of reporting the financial to respective stakeholders
- Note that there is a variation of greater than 0.03 deemed acceptable in previous reporting
Note on D10: Derek: Changed
Note on C11: Pauline: Or USD
Note on D23: Derek: Changed from 1 October